Standard Operating Procedure

STORAGE AND LABELLING OF HUMAN TISSUE

Freezers/fridges

Freezers and fridges used for human tissue should be used exclusively for this type of tissue, as far as possible. However, this is not compulsory.

Freezers and fridges need to be labelled and the labelling should observe the following guidelines:

Building and room number/freezer temperature/freezer number

Example: Owen714/-80/21

(This is freezer number 21 in room Owen 714 with a freezer temperature of -80°C)

In addition to this, the front door of the freezer or fridge needs to clearly state 'Human Tissue - Hazard'.  All -80 °C and -20°C freezers and fridges also need a label with the name of the staff/students using these freezers and their designated shelves.

Red storage boxes/tubes and labelling

All human tissue must be stored in the red boxes provided. The boxes come in various forms and sizes but must be transparent red to give a visual indication of the contents being human tissue.

Boxes known as 'Really Useful Boxes' are deemed appropriate and any shape or size can be used as long as it is transparent red. These boxes can be purchased online from many retailers including e.g. Amazon.

Label specification

The labels used for these boxes and tubes should be Brady labels (but can be ordered from any retailer (www.bradyeurope.com/labid). It is important to use these labels as they are designed for extreme conditions, including freezer storage (-80°C) and are resistant to solvents, including ethanol.

Labelling instructions

The box labels will have to display the following information:

HUMAN TISSUE

Name of PI

Project ID (e.g. ethics approval number)

Project start date

Sample type, volume

All tubes that will be stored inside the red boxes will have to display the following information:

Project ID

Project start date

Unique Sample ID (as defined by researcher/PI)